## Sheet1
Participant | Training Notes | MEG scan date | MEG Notes | Other notes
P001 |  | 14/7/2022
P002 |  | 19/7/2022 | Eye tracking lost during first and second session due to glasses
P003 |  | 20/7/2022 | Eye tracking lost during first session; channel 0343 noisy; participant was not too awake, never fully fell asleep but eyes closed from time to time during first and second sessions; during the second and third sessions, the participant rested the head too much on the right side -> noise in the data; eye position not fully recorded because calibration fails on the right eye when participant looked most to the left -> eye position data is off, but pupil size is fine anyway
P004 |  | 26/7/2022
P005 |  | 27/7/2022
P006 |  | 27/7/2022 | There is an artefact probably due to dental work, but the signal is not saturated so should be cleanable with a MAX filter; no eye tracking for session 1; eye tracking stopped for a few second in the last block of session 2
P007 |  | 29/7/2022 | Eye tracker not working during all session due to extra participant cornea reflection
P008 |  | 2022-02-08 | Eye tracker not working properly on the screen but should have picked up everything in the MEG channel; eye tracker not working well throughout the session
P009 |  | 2022-03-08 | Eye tracking not working during first session; participant was quite tired at the end of the second session/beginning of the third session
P010 | Participant 30 mins late Only did preliminary + 3 training blocks | 13/1/2023 | ECG noisy Channel 1033 noisy ICA: manually look for cardiac artefact #0380
P011 | Did 2 easy blocks + 4 training blocks (all in savedData_P011001) | 20/2/2023
P012 | All good | 13/4/2023 | All good #0426 (011) | -54 -51.7 -53.5 -56.4
P013 |  | 19/4/2023 | Recording starts 1.45 #0436 (014)
P014 | All good | 2023-05-05 | All good
P015 | All good | 2023-09-05 | ECG quite strong
P016 | All good | 2023-10-05 | #0452 (014)
P017 | All good | 2023-12-05 | #0453 (015)
P018 | All good | 17/5/2023 | ECG quite strong #0457 (016) Block 3 began at 1 minute
P019 | All good | 18/5/2023 | #0459 (017)
P020 | Participant 1 hour late Only did preliminary + 2 training blocks; however reported the mapping already felt automatic | 19/5/2023 | Lost 2-3 seconds of MEG recording at the beginning of session 2 #0461 (018)
P021 | All good | 26/5/2023 | Did session 1 in the MEG scanner twice, as the refresh rate was wrong (had reverted back to 120Hz) the first time
P022 | All good | 26/5/2023 | All good